## Slide 1: Validation of Structure Analysis Results or What Makes a Structure Report Valid?
Ton Spek
Utrecht University (NL)
ECS4-School, Warsaw, July 2-7, 2017

## Slide 2: Structure Validation Before CIF
How it was when I started in crystallography as a student in 1966 at Utrecht University ...

## Slide 3
Data Collection around 1966
Nonius AD3 Diffractometer
One data set: weeks !

## Slide 4
~1966, Electrologica X8 ALGOL60 ‘Mainframe’ (<1MHz)
60kB
Operator
Input
Output
Plotter
Console
Multiple Hours of computing time per structure

## Slide 5
Flexowriter for the creation and editing of programs and data

## Slide 7
Archival of Model Parameters in a Publication (Acta Cryst.)
Notes: 7

## Slide 8
Archival of Reflection Data in a Publication (Acta Cryst.)
Notes: 8

## Slide 9: Early Data Validation
Early (basic) validation was mainly done by the CSD, after publication.
The coordinate data were retyped into computer readable format from the publication and checked for internal consistency with the also retyped bonds and angles.
Authors of an erroneous paper were approached to resolve unresolved issues.
All this changed with the introduction of the computer readable archival standard: CIF.

## Slide 10: Early IUCr checkCIF validation
CIF was early adopted by the Sheldrick/SHELXL92
Automated Structure validation, based on CIF, was also pioneered in the early 1990th by the editors of the IUCr journal Acta Cryst. C.
The reason was the explosion of structure reports that were submitted at that time.
Initially, CIF’s were mainly analysed for consistency, completeness and quality of the data and refinement result.
A validation report was created to support the editorial and refereeing process.

## Slide 11: Today’s IUCr checkCIF
Today, IUCr/checkCIF is mainly based on the checkCIF tool in the PLATON program.
Easily available through the IUCr checkCIF server
Also available for in-house use with a locally installed PLATON executable (LINUX, Mac-OSX, MS-Windows.) that also offers supplementary analysis tools for the investigation of ALERT issues.
Input: CIF (+ FCF) created with SHELXL, OLEX2 etc.
Output: A CIF validation report (.chk) and an FCF
analysis report (.ckf) or the IUCr checkCIF report.

## Slide 12: Why Structure Validation ?
To help authors to avoid obvious errors and pitfalls prior to publication and to point at (possibly interesting) issues to be investigated and discussed.
To notify referees, editors and readers about unusual/interesting issues to be considered.
Most journals now require a validation report, created by the IUCr checkCIF server, for papers that include a crystal structure report.

## Slide 13: Does it work ?
Yes for the IUCr journals but unfortunately not always with chemical journals.
Significant knowledge of the crystallographic procedures (and underlying chemistry) will still be needed for a proper interpretation of ALERT messages that come with levels A, B, C & G and on how to act upon ALERT messages.
Unfortunately, not all authors, referees and chemical journals appear to have that knowledge available or involve crystallographers as referee.
Not always: See next illustrative example of an initially boring looking routine structure report.

## Slide 14: Tetrabutylammonium Hydrogencarbonate?
Author’s interpretation of the experimental data
Note the slightly
higher Uij for O3
Boring?

## Slide 15: Boring ?
Published in the high-impact journal
Angew. Chem. Int. Ed.
2015, 54, 164-168
The authors see something unusual and interesting ….. in that structure.

## Slide 16: Why an Interesting Structure ?
Title: “Crystallographic Snapshot of an Arrested Intermediate in the Biomimetic Activation of CO2” with all the keywords to attract interest.
Product of the bubbling of CO2 through a solution of n-tetrabutylammonium hydroxide
[N(C4H9)4]+[OH]- + CO2  [N(C4H9)4]+[HCO3]-
Study motivated by CO2 fixation/conversion research. Hot! ….

## Slide 17
Selected Validation Issues
No reflection data available for independent analysis !

## Slide 18
Interpretation Issues
The authors noticed that:
O3-H without acceptor
The unusually long C17-O3 bond of 1.563(6) Ang.
But interpreted that as:
“H-O…CO2 , stabilized by interactions with the cation scaffold”
Referees apparently accepted that strange argument
An acetate anion might fit as well. Authors felt it ‘unnesessary to revisit the chemistry at this time’ when commented on ….
‘

## Slide 19: A few month’s later …
A paper appeared entitled: ‘Comment on “Crystallographic Snapshot of an Arrested Intermediate in the Biomimetic Activation of CO2”’
by J.A.C. Clyburn et al. (2015). Angew. Chem., 54,
7484-7487.
New data collection with acetate as anion => The previously described mystery species is certainly the common acetate anion (O-H  CH3)
Now supported by deposited reflection data in SHELXL2014 CIF format.

## Slide 20: Comparison of the ‘hydrogen carbonate’ and acetate ORTEP’s
Observe the close resemblance of the displacement ellipsoids and a clear indication that one of the oxygen atoms should be a carbon atom.

## Slide 21: Contoured CH3 density section in the acetate structure
We would expect to see a similar section prepared with the “HCO3” data

## Slide 22: Original authors ‘Update’
Afterall a boring structure ….. but perfectly illustrating
my message that the experimental data should be
deposited as well in support of a structure report.
By-the-way, where did the acetate anion come from?

## Slide 23: What are the issues that structure validation aims to address
Completeness and consistency of the parameter model data of the reported structure.
Completeness of the reported experimental data on which the study is based.
Completeness of the reported details of the data-reduction, structure solution and refinement.

## Slide 24: Report & Archival
Report & Discuss any unusual procedure and result.
Supply sufficient archived and easy accessible information for an independent analysis of the data or use of the data for unrelated follow-up studies.
Validation is based on the CIF standard:

## Slide 25: CIF as introduced in 1991
The main target of many X-ray studies is the 3D molecular structure in the form of coordinates, displacement parameters, bonds and angles etc.
The computer readable CIF file was introduced in the 1990’s as a replacement for the printed results.

## Slide 26
CIF facilitates easy data transfer, archival (CSD), geometry calculations, graphics, publication (Acta Cryst.) and validation (checkCIF) of the results of a crystal structure.
However, A CIF, in its basic form, mainly reported the authors interpretation of the experimental diffraction data

## Slide 27: However ….
A CIF in its basic form is insufficient for proper validation of a structure report, in particular in case of unusual, reported or claimed, results.
What is needed is detailed information of the refinement model, including the Fobs2, Fcalc2 and sigma(Fobs2) listing file (FCF).
An FCF allows for statistical analysis of the fit of the authors structure model on the reflection data (missed twinning, absolute structure etc.).

## Slide 28: Good Scientific Practice
In addition, it is good scientific practice to also supply and archive the unmerged set of observed data on which a study is based. The subject material might be unique or difficult to obtain !
This practice is now fully implemented in the SHELXL2016 refinement program with the embedding of the .res, .hkl (and .fab) files in an extended CIF format file. Other packages follow.
This allows for an alternative refinement with the archived data (e.g. A disorder model refinement versus a published SQUEEZE based refinement)

## Slide 29: ALERTS A,B,C & G Level
All ALERTS should be inspected and possibly acted upon (in particular A-ALERTS with a suitable response)
The on-line documentation of an ALERT should be consulted.
Not all ALERTS are ERRORS but may point to interesting or unusual issues or just offer relevant information such as R & S assignments..
Sometimes, a combination of low level ALERTS (e.g. C or G level) may point to serious problems as well.
checkCIF is a learning process and is still developing with new ALERTS added or finetuned.

## Slide 30: TESTS
Currently, 470 tests have been implemented
Testing the displacement ellipsoids
Testing short contacts (e.g. H … H)
Testing geometry
Testing for missed symmetry
Testing for missed twinning

## Slide 31: PLATON Tools
Non-GUI terminal options
Validation - ‘platon -u name.cif’
SQUEEZE - ‘platon –q name.cif’
ORTEP - ‘platon –a name.cif’
ADDSYM - ‘platon –m name.cif
Etc.
GUI/Graphics - ‘platon name.cif’ for CALC, H-Bonds, TwinRotMat, Bijvoet etc.
Next: ‘platon –u example.cif’ validation

## Slide 36: FCF-Validation (in .ckf) adds:
Analysis of the quality of the refinement
Analysis of the difference map (peaks)
Detection of void content (SQUEEZE)
Detection of missing reflections
Detection of outliers
Detection of missed twinning
Check of the reported absolute structure

## Slide 42: Difference Density Map (Fo-Fc)
A difference electron density map is a very powerful validation tool.
Should not contain significant density excursions with |ρmin| ~ ρmax , say < 0.5 eÅ-3
Analysis with contoured maps is useful to check Hydrogen atom positions
A residual peak search list offers an overview of possible trouble spots with a structure

## Slide 43
Acta Cryst. (2011). E67, m576-m577
[Co4Cl4(C3H6S)4]
R1 = 0.041
wR2 = 0.125
Is this structure correct ?

## Slide 46
Identical to:
Inorg. Chem.
(2006) 45, 8318
CoIII  ZnII
C3  N1
C6  N2
R1 = 0.028
wR2 = 0.075
Correction
proved with
reflection data
CSD:

## Slide 47
False Co-Complex === Zn-Complex
Contours at 0.1 e/Å3

## Slide 48: Residual Density Peaks may be ..
Due to Unaccounted for Disorder
Unaccounted for Twinning
Missing or too many H-atoms
Misassigned atom types
Absorption artifacts (insufficient correction)
‘Bonding’ density on bonds
Note: SHELXL will not report residual density peaks at atom sites

## Slide 49: Density on Bonds for a Quality Structure

## Slide 50: F(obs) and F(obs)-F(calc) Maps Large peaks in a difference map are not due to trancation ripples
Br
Br
Note the truncation ripples in the F(obs) map and absence in the F(obs)-F(calc) map

## Slide 51: Wrong Structures
Wrong assumptions of the starting materials may lead to wrong interpretations (e.g. wrong element types)
Pseudo-symmetry may lead to false solutions with high R-values often explained to be due to poor data.
Perceived disorder can be an artefact of a wrong structure analysis.

## Slide 52
Problem Example from Chemical Journal
Eur. J. Inorg. Chem.
(2012) 4479-4485.
R1 = 0.08, wR2 = 0.30
Space Group C2/c
Fe-Complex on 2-axis
NO3 Anion in general pos. Population = 0.5 !?
Charge Balance Problem

## Slide 53: Problematic Structure
Problem: NO3- in general position disordered over two symmetry related sites sounds strange (precedents ?).
Significant residual density peaks up to 2.5 e/Å3 but explained away as ‘With no chemical significance’
Reflection data would be needed for a detailed analysis of the issue but only a CIF was deposited.
Martin Lutz et al. resynthesised the compound following the authors protocol with a surprising result (Eur. J. Inorg. Chem. (2013) 2467-2469)
C2/c  Cc and NO3  NO3 + Acetic acid + H2O

## Slide 54
Biswas et al.
Lutz et al.

## Slide 55
C2/c – Biswas et al. - VOIDS
Cc – Lutz et al.

## Slide 56: Follow-Up
- The authors maintain in their rebuttal
[Eur. J. Inorg. Chem. (2013) 2470]
their interpretation. 
- Referee conclusion (with no access
to the reflection data): Two different structures !!!
- I obtained the reflection data from one of the co-authors
A SQUEEZE test run on the authors data, with the NO3- removed, recovered 279 electrons from the voids left where only 128 were expected for an NO3- model.
- Run on Lutz et al. data, with NO3 and solvents removed, recovered 285 electrons of the expected 296. Conclusion ?

## Slide 57: Frauded Structures
Unfortunately, a significant number of fraudulent structure reports have been detected
Experimental data of published structures were used to create new structure reports by refining slightly modified structure models against the ‘stolen’ data.
Positive detection was possible in cases where reflection data for both structures had been deposited.

## Slide 58
BogusVariations (with Hirshfeld ALERTS) on the Published Structure
2-hydroxy-3,5-nitrobenzoic acid (ZAJGUM)
OH => F
H2O => NH3
OH=>NH2
NO2=>COOH

## Slide 59: Refinement based on Identical Data sets?
Platon includes an easy to use tool to compare two potentially similar FCF files:
Terminal window instruction:
platon –d fcf1.fcf fcf2.fcf

## Slide 60: Scatter Plots of 2 Data Sets
Two Unrelated Data Sets
Two Identical Data sets

## Slide 61: Invented Structures
Can crystal structures be invented ?
Yes, e.g. with forcefield calculations as part of structure prediction procedures.
‘Observed’ data can be created with an associated error model on I0bs and σ(Iobs)
Can we detect invented structure reports?
Following an example that was deliberately designed to challenge the validation system.

## Slide 62: QUESTION: Is this Structure Correct ?
The Aug. 2015 IUCr/checkCIF reports no serious ALERTS
checkCIF:
No Voids
No Unusual Contacts
Slightly high Difference Density Range
R1 = 0.0111
wR2 = 0.0339
S = 1.042
Rhomin -0.43
Rhomax 0.47
What would a synthetic
chemist’s comment be ?

## Slide 63: No, The Structure was Deliberately INVENTED
- This devious structure was
clevery created by Natalie
Johnson et al., Newcastle, UK,
aiming to beat checkCIF & FCF.
- Her thesis was that it is easy
to invent a fake data set that does
not raise checkCIF ALERTS.
- So does the deposition of an
FCF avoid frauded structures?
- She even created diffr. Images.
- Presented as an excellent
Poster during ECM-2015, Croatia.
But: Every crime leaves its traces …..
and we can learn from them.

## Slide 64
Unusual Actual difference map Density
Clear traces of the ‘Crime’ are
in the Difference Density Map
Difference map in the CH2 plane
The CH2 Hydrogen atoms at calculated
positions are definitely not in F(obs)
Expected type of difference map

## Slide 65
NATALIE
YLID
How was Structure ‘Natalie’ created ?
YLID
‘Starting Material’ (Bruker)
Chemical issue: Se+
No example in the CSD
for the 6-membered ring
System
Mogul : Se – C outlier
Se

## Slide 66


No H-density
No Density on Bonds
CURRENT
PLATON/CHECKCIF
VALIDATION
REPORT FOR
‘NATALIE’

## Slide 67: On the Positive side
(Reported) attempts to beat checkCIF are extremely helpful (thanks Natalie!), not only to address fraud attempts but also as a source for additional tests for the detection of author errors.
The two added ALERTS are excellent examples for this.
The newly introduced ALERTS are helpful for the detection of accidently misplaced Hydrogen atoms.
Analyses of the FCF may give further clues as shown next.

## Slide 68: Look in Detail at the Reflection Data
Partly, such information is in the .ckf file created by PLATON/checkCIF from the FCF data or use e.g. tools available in PLATON
The Normal
Probability PLOT is
not perfect for
the fake ‘Natalie’
structure with its low
R-factor values

## Slide 69: Look in Detail at the Reflection Data
Partly, such information is in the .ckf file created by PLATON/checkCIF from the FCF data or use e.g. tools available in PLATON
The Normal
Probability PLOT is
not perfect for
the fake ‘Natalie’
structure with its low
R-factor values

## Slide 70: Look at the sigma(I) versus sqrt(I) Plot
‘Nardelli’ (Bruker) versus non-fake Bruker data
Poisson Statistics

## Slide 71: Common Validation Issues
Acta Cryst. expects data sets to be essentially complete up to sin(theta)/lambda = 0.6 Å-1. This does not imply to delete all data beyond that value as ‘the Acta Standard’. Those data should be kept.
Supplying a VRF with a good argument explaining the reason for an A or B Alert in the case at hand should be sufficient

## Slide 72: Formula & Z
- The Moiety Formula should be consistent with the reported Z value. There should be generally no problem with one species only in a general position (Z = general position multiplicity)
- The proper choice of Z in the case of multiple species in the asymmetric unit (and their order) is likely best dictated by the underlying chemistry.

## Slide 73: Missed Symmetry Messages
Tests are done to detect and report on missed or pseudo-symmetry. Those tests look for symmetry relations within the model parameters compatible with the lattice symmetry.
Details can be investigated with the ADDSYM tool in PLATON.
Reflection data will be needed for the definite analysis.

## Slide 74: Valid versus Value
A structure report is ‘valid’ when the reported results include the experimental data, the authors interpretation of the data, the way that those results were obtained and all non-standard issues discussed.
The value of the report depends on what new information is obtained. The value of heavily constrained and restrained structures might be limited.

## Slide 76: Final Comments
CheckCIF provides a list of issues that need to be addressed, either with a correction or giving an acceptable explanation (in the paper or VRF in the CIF)
ALERTS come in levels A, B & C and report possible error, missing data or quality issues. G-ALERTS are generally informative and not necessarily errors but still need to be looked at seriously.
A & B ALERTS should never automatically lead to the rejection of a paper but should be investigated by a trained crystallographer.
Everything unusual marked as ‘new’, ‘unexpected’ etc. in a paper should be approached with healthy mistrust.

## Slide 77: Diffraction Images
Sometimes, the availability of an unmerged reflection file is not sufficient to evaluate unresolved or unusual issues with a structure.
In such a case, access to the diffraction images might be needed
Info about weak but important unindexed reflections might be relevant or info about streaks etc.
Standard archival of info related the integration process into the CIF might be helpful.

## Slide 78: Finally
Validation should not lead to rejection of good and interesting science.
What is needed is a full account of what has been done and why and why this result is the best attainable.
Problems should not be hidden with tricks to avoid ALERTS.
All relevant data should be archived.

## Slide 79
Thank you !
a.l.spek@uu.nl
More info:www.platonsoft.nl
(including this powerpoint presentation)
Please send suggestions and examples (with data) of
(annoying) issues to: